{"text_format":"5","workbook":"xls","n_sheets":18,"sheets":["COMP.SAL CTD-PORT","PIR-001","PIR-003","PIR-005","PIR-007","PIR-015","PIR-017","PIR-019","PIR-021","PIR-022","PIR-024","PIR-025","PIR-027","PIR-028","PIR-029","PIR-030","PIR-031","PIR-033"],"props":{"creator":".","last_modified_by":"NOc ANTARES"},"not_rendered":{"charts":17,"external_links":1},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"COMP.SAL CTD-PORT","index":0,"n_rows":152,"n_cols":6,"rows_kept":152,"merged":[[0,0,0,5],[1,0,1,5],[3,0,3,5],[5,0,5,3],[6,0,6,5],[7,0,7,3]],"flags":["formulas_cached_only"]}
["MARINHA DO BRASIL "]
["NOc ANTARES"]
[]
["PIRATA BR- XIII/2011"]
[]
[]
["COMPARAÇÃO ENTRE VALORES DE SALINIDADE  CTD - PORTASAL"]
[]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - PORT."]
["PIR-001",12,2,34.9647,{"v":34.998311538461536,"d":"34.9983"},{"v":-0.03361153846153542,"d":"-0.0336"}]
[null,10,79,34.4739,{"v":34.50772307692307,"d":"34.5077"},{"v":-0.033823076923070516,"d":"-0.0338"}]
[null,8,99,35.8505,{"v":35.82193461538462,"d":"35.8219"},{"v":0.028565384615376388,"d":"0.0286"}]
[null,6,150,36.7684,{"v":36.73174615384615,"d":"36.7317"},{"v":0.036653846153846814,"d":"0.0367"}]
[null,4,598,{"v":36.44,"d":"36.4400"},{"v":36.452857692307695,"d":"36.4529"},{"v":-0.012857692307697732,"d":"-0.0129"}]
[null,2,1496,36.3247,{"v":36.31026923076923,"d":"36.3103"},{"v":0.01443076923077058,"d":"0.0144"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-003",12,3,36.0127,{"v":35.99598076923077,"d":"35.9960"},{"v":0.016719230769233207,"d":"0.0167"}]
[null,10,107,36.4947,{"v":36.52119230769231,"d":"36.5212"},{"v":-0.02649230769230826,"d":"-0.0265"}]
[null,8,127,35.9848,{"v":35.994003846153845,"d":"35.9940"},{"v":-0.009203846153845063,"d":"-0.0092"}]
[null,6,397,34.7384,{"v":34.75321538461538,"d":"34.7532"},{"v":-0.014815384615381788,"d":"-0.0148"}]
[null,4,685,34.5045,{"v":34.50932692307692,"d":"34.5093"},{"v":-0.004826923076919343,"d":"-0.0048"}]
[null,2,1493,34.9731,{"v":34.94843846153846,"d":"34.9484"},{"v":0.02466153846154384,"d":"0.0247"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-005",12,3,35.6129,{"v":35.63915,"d":"35.6392"},{"v":-0.026249999999997442,"d":"-0.0262"}]
[null,10,95,35.7691,{"v":35.71486153846154,"d":"35.7149"},{"v":0.05423846153846057,"d":"0.0542"}]
[null,8,113,35.6961,{"v":35.63997307692308,"d":"35.6400"},{"v":0.05612692307692413,"d":"0.0561"}]
[null,6,495,34.6334,{"v":34.615884615384616,"d":"34.6159"},{"v":0.017515384615386154,"d":"0.0175"}]
[null,4,698,34.5175,{"v":34.50999615384615,"d":"34.5100"},{"v":0.007503846153845473,"d":"0.0075"}]
[null,2,1470,34.9722,{"v":34.9484076923077,"d":"34.9484"},{"v":0.023792307692303893,"d":"0.0238"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-007",12,3,35.6245,{"v":35.63341923076923,"d":"35.6334"},{"v":-0.008919230769230069,"d":"-0.0089"}]
[null,10,89,35.9943,{"v":35.97823076923077,"d":"35.9782"},{"v":0.016069230769232945,"d":"0.0161"}]
[null,8,116,35.8698,{"v":35.87044230769231,"d":"35.8704"},{"v":-0.0006423076923098847,"d":"-0.0006"}]
[null,6,399,34.9051,{"v":34.88885384615384,"d":"34.8889"},{"v":0.016246153846154243,"d":"0.0162"}]
[null,4,700,34.5598,{"v":34.51756538461538,"d":"34.5176"},{"v":0.04223461538462203,"d":"0.0422"}]
[null,2,3512,34.9027,{"v":34.887876923076924,"d":"34.8879"},{"v":0.01482307692307927,"d":"0.0148"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-015",12,4,35.6245,{"v":35.67738846153846,"d":"35.6774"},{"v":-0.05288846153846549,"d":"-0.0529"}]
[null,10,98,35.9943,36.6314,{"v":-0.6370999999999967,"d":"-0.6371"}]
[null,8,178,35.8698,{"v":35.30246538461538,"d":"35.3025"},{"v":0.5673346153846168,"d":"0.5673"}]
[null,6,698,34.9051,{"v":34.984796153846155,"d":"34.9848"},{"v":-0.07969615384615736,"d":"-0.0797"}]
[null,4,1500,{"v":34.559,"d":"34.5590"},{"v":34.86003076923077,"d":"34.8600"},{"v":-0.30103076923077055,"d":"-0.3010"}]
[null,2,4003,34.9021,{"v":34.79716153846154,"d":"34.7972"},{"v":0.10493846153845965,"d":"0.1049"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-017",12,2,36.3471,{"v":36.30712692307692,"d":"36.3071"},{"v":0.03997307692307572,"d":"0.0400"}]
[null,10,1,36.3522,{"v":36.22639230769231,"d":"36.2264"},{"v":0.12580769230769562,"d":"0.1258"}]
[null,8,17,36.4313,{"v":36.299357692307694,"d":"36.2994"},{"v":0.13194230769230586,"d":"0.1319"}]
[null,6,142,35.8174,{"v":35.60322307692308,"d":"35.6032"},{"v":0.21417692307691993,"d":"0.2142"}]
[null,4,597,34.9226,{"v":34.70828846153846,"d":"34.7083"},{"v":0.21431153846154416,"d":"0.2143"}]
[null,2,1498,34.9922,{"v":34.72595384615384,"d":"34.7260"},{"v":0.26624615384615424,"d":"0.2662"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-019",12,1,36.6566,36.2669,{"v":0.3896999999999977,"d":"0.3897"}]
[null,10,32,36.7947,36.4336,{"v":0.3611000000000004,"d":"0.3611"}]
[null,8,55,36.9947,36.7972,{"v":0.19750000000000512,"d":"0.1975"}]
[null,6,203,35.7775,35.4736,{"v":0.30390000000000583,"d":"0.3039"}]
[null,4,1502,{"v":34.992,"d":"34.9920"},34.7914,{"v":0.20059999999999434,"d":"0.2006"}]
[null,2,4080,34.8886,{"v":34.605,"d":"34.6050"},{"v":0.28359999999999985,"d":"0.2836"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-021",12,1,35.4284,{"v":34.93801153846154,"d":"34.9380"},{"v":0.4903884615384655,"d":"0.4904"}]
[null,10,30,36.1789,{"v":35.75897692307692,"d":"35.7590"},{"v":0.4199230769230766,"d":"0.4199"}]
[null,8,60,{"v":36.216,"d":"36.2160"},{"v":35.688442307692306,"d":"35.6884"},{"v":0.5275576923076954,"d":"0.5276"}]
[null,6,207,{"v":35.023,"d":"35.0230"},{"v":34.451107692307694,"d":"34.4511"},{"v":0.571892307692309,"d":"0.5719"}]
[null,4,1516,34.9923,{"v":34.48077307692308,"d":"34.4808"},{"v":0.5115269230769215,"d":"0.5115"}]
[null,2,3878,34.8804,{"v":34.24213846153846,"d":"34.2421"},{"v":0.638261538461542,"d":"0.6383"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-022",12,1,33.8186,{"v":33.22140384615385,"d":"33.2214"},{"v":0.5971961538461557,"d":"0.5972"}]
[null,10,30,35.8439,{"v":35.192669230769226,"d":"35.1927"},{"v":0.6512307692307715,"d":"0.6512"}]
[null,8,81,36.2068,{"v":36.905547058823515,"d":"36.9055"},{"v":-0.6987470588235141,"d":"-0.6987"}]
[null,6,151,{"v":35.35,"d":"35.3500"},{"v":36.06334117647058,"d":"36.0633"},{"v":-0.7133411764705784,"d":"-0.7133"}]
[null,4,707,34.5679,{"v":35.413935294117636,"d":"35.4139"},{"v":-0.8460352941176339,"d":"-0.8460"}]
[null,2,1518,34.9763,{"v":35.953829411764694,"d":"35.9538"},{"v":-0.9775294117646922,"d":"-0.9775"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-24",12,1,35.5338,{"v":36.684723529411755,"d":"36.6847"},{"v":-1.150923529411756,"d":"-1.1509"}]
[null,10,106,36.6942,{"v":37.71551764705881,"d":"37.7155"},{"v":-1.0213176470588081,"d":"-1.0213"}]
[null,8,502,34.6203,{"v":35.74481176470587,"d":"35.7448"},{"v":-1.124511764705872,"d":"-1.1245"}]
[null,6,761,34.4962,{"v":35.71270588235293,"d":"35.7127"},{"v":-1.2165058823529264,"d":"-1.2165"}]
[null,4,1505,34.9764,{"v":36.24489999999999,"d":"36.2449"},{"v":-1.2684999999999889,"d":"-1.2685"}]
[null,2,4070,34.8585,{"v":36.19519411764705,"d":"36.1952"},{"v":-1.336694117647049,"d":"-1.3367"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-025",12,1,36.1935,{"v":37.66948823529411,"d":"37.6695"},{"v":-1.4759882352941105,"d":"-1.4760"}]
[null,10,93,36.2653,{"v":37.698982352941165,"d":"37.6990"},{"v":-1.4336823529411618,"d":"-1.4337"}]
[null,8,706,{"v":34.477,"d":"34.4770"},{"v":36.25507647058823,"d":"36.2551"},{"v":-1.778076470588232,"d":"-1.7781"}]
[null,6,1111,34.6561,{"v":36.33307058823529,"d":"36.3331"},{"v":-1.6769705882352852,"d":"-1.6770"}]
[null,4,2022,{"v":34.943,"d":"34.9430"},{"v":36.747264705882344,"d":"36.7473"},{"v":-1.8042647058823462,"d":"-1.8043"}]
[null,2,4060,34.8273,{"v":36.6098588235294,"d":"36.6099"},{"v":-1.7825588235293992,"d":"-1.7826"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","PORTASAL","CTD - POR"]
["PIR-027",12,1,36.4604,{"v":36.505799999999994,"d":"36.5058"},{"v":-0.04539999999999367,"d":"-0.0454"}]
[null,10,81,{"v":36.623,"d":"36.6230"},{"v":35.94968846153846,"d":"35.9497"},{"v":0.6733115384615402,"d":"0.6733"}]
[null,8,132,36.6165,{"v":36.40337692307692,"d":"36.4034"},{"v":0.21312307692308252,"d":"0.2131"}]
[null,6,308,34.9312,{"v":34.490265384615384,"d":"34.4903"},{"v":0.440934615384613,"d":"0.4409"}]
[null,4,703,{"v":34.476,"d":"34.4760"},{"v":34.184053846153844,"d":"34.1841"},{"v":0.29194615384615474,"d":"0.2919"}]
[null,2,1488,34.9193,{"v":34.67504230769231,"d":"34.6750"},{"v":0.24425769230769134,"d":"0.2443"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
["PIR-028",12,6,36.5752,{"v":36.43903076923076,"d":"36.4390"},{"v":0.1361692307692408,"d":"0.1362"}]
[null,10,134,36.8273,{"v":36.65681923076923,"d":"36.6568"},{"v":0.17048076923077105,"d":"0.1705"}]
[null,8,306,35.0771,{"v":34.874607692307684,"d":"34.8746"},{"v":0.2024923076923173,"d":"0.2025"}]
[null,6,504,34.5373,{"v":34.24169615384615,"d":"34.2417"},{"v":0.2956038461538526,"d":"0.2956"}]
[null,4,709,34.4534,{"v":33.96318461538461,"d":"33.9632"},{"v":0.4902153846153894,"d":"0.4902"}]
[null,2,1517,34.9037,{"v":34.19227307692307,"d":"34.1923"},{"v":0.7114269230769281,"d":"0.7114"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
["PIR-029",12,6,{"v":36.927,"d":"36.9270"},{"v":36.518861538461536,"d":"36.5189"},{"v":0.40813846153846356,"d":"0.4081"}]
[null,10,120,37.0082,{"v":34.187749999999994,"d":"34.1878"},{"v":2.820450000000008,"d":"2.8205"}]
[null,8,710,34.3764,{"v":33.86041538461538,"d":"33.8604"},{"v":0.5159846153846175,"d":"0.5160"}]
[null,6,1107,34.6534,{"v":34.37263846153846,"d":"34.3726"},{"v":0.2807615384615403,"d":"0.2808"}]
[null,4,2019,34.9471,{"v":34.11312692307692,"d":"34.1131"},{"v":0.8339730769230798,"d":"0.8340"}]
[null,2,4062,{"v":34.821,"d":"34.8210"},{"v":36.48750384615384,"d":"36.4875"},{"v":-1.6665038461538444,"d":"-1.6665"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
["PIR-030",12,1,37.1042,{"v":35.8280923076923,"d":"35.8281"},{"v":1.276107692307697,"d":"1.2761"}]
[null,10,115,37.2177,{"v":35.82708076923076,"d":"35.8271"},{"v":1.3906192307692393,"d":"1.3906"}]
[null,8,253,35.4133,{"v":34.12696923076923,"d":"34.1270"},{"v":1.2863307692307728,"d":"1.2863"}]
[null,6,533,34.5585,{"v":33.69795769230768,"d":"33.6980"},{"v":0.8605423076923202,"d":"0.8605"}]
[null,4,712,34.4036,{"v":33.56204615384615,"d":"33.5620"},{"v":0.8415538461538503,"d":"0.8416"}]
[null,2,1502,34.9044,{"v":34.00873461538461,"d":"34.0087"},{"v":0.8956653846153912,"d":"0.8957"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
["PIR-031",12,1,37.2498,{"v":36.460923076923066,"d":"36.4609"},{"v":0.7888769230769341,"d":"0.7889"}]
[null,10,165,37.2516,{"v":36.41720000000001,"d":"36.4172"},{"v":0.8343999999999951,"d":"0.8344"}]
[null,8,197,36.3533,{"v":35.50780000000001,"d":"35.5078"},{"v":0.845499999999987,"d":"0.8455"}]
[null,6,444,34.7414,{"v":33.866600000000005,"d":"33.8666"},{"v":0.8747999999999934,"d":"0.8748"}]
[null,4,700,34.3923,33.4894,{"v":0.9028999999999954,"d":"0.9029"}]
[null,2,1540,34.9352,{"v":34.24110000000001,"d":"34.2411"},{"v":0.6940999999999917,"d":"0.6941"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
["PIR-033",12,1,{"v":37.315,"d":"37.3150"},36.5011,{"v":0.8138999999999967,"d":"0.8139"}]
[null,10,138,37.2781,{"v":36.37180000000001,"d":"36.3718"},{"v":0.9062999999999946,"d":"0.9063"}]
[null,8,507,34.7098,{"v":33.717400000000005,"d":"33.7174"},{"v":0.9923999999999964,"d":"0.9924"}]
[null,6,1008,34.4814,{"v":33.839200000000005,"d":"33.8392"},{"v":0.6421999999999954,"d":"0.6422"}]
[null,4,2521,34.9281,{"v":33.90880000000001,"d":"33.9088"},{"v":1.019299999999994,"d":"1.0193"}]
[null,2,3760,34.8118,{"v":36.172000000000004,"d":"36.1720"},{"v":-1.360200000000006,"d":"-1.3602"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","SALINIDADE","SALINIDADE","DIFERENÇA"]
[null,"Nº","COLETA  (m)","CTD","PORTASAL","CTD - POR"]
[null,12,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,10,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,8,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,6,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,4,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,2,{"$nulls":3},{"v":0,"d":"0.0000"}]

{"sheet":"PIR-001","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-003","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-005","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-007","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-015","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-017","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-019","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-021","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-022","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-024","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-025","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-027","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-028","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-029","index":14,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-030","index":15,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-031","index":16,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"PIR-033","index":17,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}