{"text_format":"5","workbook":"xls","n_sheets":17,"sheets":["PIRXIII","PIR001"," PIR003","PIR005","PIR007","PIR015","PIR017","PIR019","PIR024","PIR025","PIR027","PIR028","PIR029","PIR030","PIR031","PIR033","COMP. OD BANCADAxCTD"],"props":{"last_modified_by":"NOc ANTARES"},"defined_names":["Excel_BuiltIn__FilterDatabase_1"],"not_rendered":{"charts":15,"external_links":1,"defined_names":1},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"PIRXIII","index":0,"n_rows":145,"n_cols":15,"rows_kept":145,"merged":[[0,0,0,14],[1,0,1,14],[2,0,2,14],[3,0,3,14],[4,0,4,14],[5,0,5,14],[6,0,6,14],[7,0,7,2],[7,3,7,12],[8,0,8,2],[8,3,8,12],[12,0,12,1],[13,1,13,2],[14,1,14,2],[20,0,20,1],[21,1,21,2],[22,1,22,2],[28,0,28,1],[29,1,29,2],[30,1,30,2],[36,0,36,1],[37,1,37,2],[38,1,38,2],[44,0,44,1],[45,1,45,2],[46,1,46,2],[52,0,52,1],[53,1,53,2],[54,1,54,2],[60,0,60,1],[61,1,61,2],[62,1,62,2],[68,0,68,1],[69,1,69,2],[70,1,70,2],[76,0,76,1],[77,1,77,2],[78,1,78,2],[84,0,84,1],[85,1,85,2],[86,1,86,2],[92,0,92,1],[93,1,93,2],[94,1,94,2],[100,0,100,1],[101,1,101,2],[102,1,102,2],[108,0,108,1],[109,1,109,2],[110,1,110,2],[116,0,116,1],[117,1,117,2],[118,1,118,2],[124,0,124,1],[125,1,125,2],[126,1,126,2],[132,1,133,9],[134,1,134,8],[135,1,135,8],[137,1,137,4],[138,1,138,3],[139,1,139,3],[140,1,140,3],[141,1,141,3],[143,3,143,5],[144,3,144,5]],"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}
["MARINHA DO BRASIL"]
["NOc ANTARES"]
[]
["CÁLCULO DO OXIGÊNIO DISSOLVIDO NA ÁGUA DO MAR"]
[]
["PIRATA BR-XIII / 2011"]
[]
[]
["PERÍODO :",null,null,"11AGO a 05OUT2011"]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[1,"2011-08-24","08:01:00",3150,2,{"v":27.0375,"d":"27.04"},{"v":25.2,"d":"25.20"},{"v":298.2,"d":"298.2000"},34.9647,1.83,{"v":4.232124454428554,"d":"4.2321"},{"v":0.9264252137479401,"d":"93%"},{"v":4.568231079664917,"d":"4.57"},null,4.3296]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},79,{"v":27.0156,"d":"27.02"},{"v":25.6,"d":"25.60"},{"v":298.6,"d":"298.6000"},34.4739,1.82,{"v":4.214643963980801,"d":"4.2146"},{"v":0.9197269951307563,"d":"92%"},{"v":4.582494573165824,"d":"4.58"},null,4.3353]
["Latitude","01º59,32 S",null,null,99,{"v":26.0305,"d":"26.03"},{"v":25.2,"d":"25.20"},{"v":298.2,"d":"298.2000"},35.8505,1.83,{"v":4.232124454428554,"d":"4.2321"},{"v":0.91555389919609,"d":"92%"},{"v":4.622474392981787,"d":"4.62"},null,4.4961]
["Longitude","038º02,41 W",null,null,150,{"v":17.3745,"d":"17.37"},{"v":26,"d":"26.00"},{"v":299,"d":"299.0000"},36.7684,1.76,{"v":4.081159402496001,"d":"4.0812"},{"v":0.7598857986232755,"d":"76%"},{"v":5.3707536183595606,"d":"5.37"},null,4.0513]
[{"$nulls":4},598,{"v":5.9027,"d":"5.90"},{"v":13.8,"d":"13.80"},{"v":286.8,"d":"286.8000"},{"v":36.44,"d":"36.4400"},1.73,{"v":3.847910409280985,"d":"3.8479"},{"v":0.5598754554292871,"d":"56%"},{"v":6.872797105082204,"d":"6.87"},null,3.7717]
[{"$nulls":4},1496,{"v":4.3548,"d":"4.35"},{"v":11.2,"d":"11.20"},{"v":284.2,"d":"284.2000"},36.3247,2.16,{"v":4.760773572379569,"d":"4.7608"},{"v":0.6669464426130159,"d":"67%"},{"v":7.138164728381234,"d":"7.14"},null,5.0314]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[3,"2011-08-24","23:25:00",4443,3,{"v":26.8992,"d":"26.90"},{"v":25,"d":"25.00 "},299.8992,36.0127,1.9300000000000002,{"v":4.488821315313137,"d":"4.4888"},{"v":0.9861534578921575,"d":"99%"},{"v":4.551848679725484,"d":"4.55"},null,4.3295]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},108,{"v":21.8556,"d":"21.86"},{"v":22.2,"d":"22.20 "},294.8556,36.4947,1.84,{"v":4.207526938176922,"d":"4.2075"},{"v":0.8498864298852009,"d":"85%"},{"v":4.95069316349157,"d":"4.95"},null,4.0266]
["Latitude","00º00,24 S",null,null,128,{"v":18.6044,"d":"18.60"},{"v":21.9,"d":"21.90 "},{"v":294.9,"d":"294.9000"},35.9848,1.6,{"v":3.659270014582155,"d":"3.6593"},{"v":0.6942151255534369,"d":"69%"},{"v":5.271089435951053,"d":"5.27"},null,3.7935]
["Longitude","038º00,34 W",null,null,400,{"v":8.4633,"d":"8.46"},{"v":19.6,"d":"19.60 "},{"v":292.6,"d":"292.6000"},34.7384,1.32,{"v":2.9953526116312625,"d":"2.9954"},{"v":0.4573310452703025,"d":"46%"},{"v":6.549637604114278,"d":"6.55"},null,{"v":2.9854000000000003,"d":"2.9854"}]
[{"$nulls":4},685,{"v":5.4267,"d":"5.43"},{"v":19.4,"d":"19.40 "},{"v":292.4,"d":"292.4000"},34.5045,1.48,{"v":3.3561300808546464,"d":"3.3561"},{"v":0.4767360679738905,"d":"48%"},{"v":7.039807361582829,"d":"7.04"},null,3.3149]
[{"$nulls":4},1493,{"v":4.3067,"d":"4.31"},{"v":19.3,"d":"19.30 "},{"v":292.3,"d":"292.3000"},34.9731,2.21,{"v":5.009804641043201,"d":"5.0098"},{"v":0.694767329056788,"d":"69%"},{"v":7.210766009743841,"d":"7.21"},null,5.1594]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[5,"2011-08-25","15:42:00",4447,3,{"v":27.8959,"d":"27.90"},{"v":27.6,"d":"27.60"},{"v":300.6,"d":"300.6000"},35.6129,1.85,{"v":4.312810799867077,"d":"4.3128"},{"v":0.9609950326358753,"d":"96%"},{"v":4.487859617793902,"d":"4.49"},null,4.3225]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},96,{"v":26.6107,"d":"26.61"},{"v":27.4,"d":"27.40"},{"v":300.4,"d":"300.4000"},35.7691,1.6800000000000002,{"v":3.9138926686995696,"d":"3.9139"},{"v":0.8545670142000981,"d":"85%"},{"v":4.579971615641048,"d":"4.58"},null,3.9147]
["Latitude","01º59,98 N",null,null,113,{"v":17.0566,"d":"17.06"},{"v":22.9,"d":"22.90"},{"v":295.9,"d":"295.9000"},35.6961,0.89,{"v":2.0423711800827076,"d":"2.0424"},{"v":0.3755157595007926,"d":"38%"},{"v":5.438842787311558,"d":"5.44"},null,{"v":2.058,"d":"2.0580"}]
["Longitude","038º00,34 W",null,null,495,{"v":7.1746,"d":"7.17"},{"v":15.9,"d":"15.90"},{"v":288.9,"d":"288.9000"},34.6334,1.26,{"v":2.8230449200748313,"d":"2.8230"},{"v":0.41821299950499596,"d":"42%"},{"v":6.7502562651477485,"d":"6.75"},null,2.8791]
[{"$nulls":4},698,{"v":5.798,"d":"5.80"},{"v":15.1,"d":"15.10"},{"v":288.1,"d":"288.1000"},34.5175,1.5,{"v":3.351461378436923,"d":"3.3515"},{"v":0.480349324522289,"d":"48%"},{"v":6.97713353041555,"d":"6.98"},null,{"v":3.322,"d":"3.3220"}]
[{"$nulls":4},1470,{"v":4.4042,"d":"4.40"},{"v":14.5,"d":"14.50"},{"v":287.5,"d":"287.5000"},34.9722,2.24,{"v":4.994425842215385,"d":"4.9944"},{"v":0.6942805505878059,"d":"69%"},{"v":7.193670970599569,"d":"7.19"},null,5.0361]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[7,"2011-08-26","06:15:00",4085,3,28.3323,{"v":26.4,"d":"26.40 "},{"v":299.4,"d":"299.4000"},35.6245,1.84,{"v":4.272374563312246,"d":"4.2724"},{"v":0.7924038862608231,"d":"79%"},{"v":5.391662809066506,"d":"5.39"},null,4.2945]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},89,27.638,{"v":26.6,"d":"26.60 "},{"v":299.6,"d":"299.6000"},35.9943,1.75,{"v":4.066114082412308,"d":"4.0661"},{"v":0.7451058958449369,"d":"75%"},{"v":5.457095568679411,"d":"5.46"},null,4.0834]
["Latitude","03º59,87 N",null,null,116,20.9577,{"v":22.6,"d":"22.60 "},{"v":295.6,"d":"295.6000"},35.8698,1.33,{"v":3.0489884021976623,"d":"3.0490"},{"v":0.603779055217878,"d":"60%"},{"v":5.049841288544553,"d":"5.05"},null,3.0899]
["Longitude","037º59,73 W",null,null,399,10.0437,{"v":16.1,"d":"16.10 "},{"v":289.1,"d":"289.1000"},34.9051,1.37,{"v":3.0716261801998774,"d":"3.0716"},{"v":0.48630453958535136,"d":"49%"},{"v":6.316260553148252,"d":"6.32"},null,{"v":3.1249000000000002,"d":"3.1249"}]
[{"$nulls":4},900,5.5635,{"v":14,"d":"14.00 "},{"v":287,"d":"287.0000"},{"v":34.559,"d":"34.5590"},{"v":1.3,"d":"1.30"},{"v":2.89350975424,"d":"2.8935"},{"v":0.4125151040704204,"d":"41%"},{"v":7.0143122656329435,"d":"7.01"},null,2.9003]
[{"$nulls":4},3512,2.4395,{"v":12.7,"d":"12.70 "},{"v":285.7,"d":"285.7000"},34.9027,{"v":2.6,"d":"2.60"},{"v":5.7608065281280005,"d":"5.7608"},{"v":0.762309084862208,"d":"76%"},{"v":7.557048240044654,"d":"7.56"},null,{"v":5.705,"d":"5.7050"}]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[15,"2011-08-29","00:24:00",4645,4,{"v":28.6322,"d":"28.63"},{"v":26.2,"d":"26.20"},{"v":299.2,"d":"299.2000"},35.7642,1.92,{"v":4.455151936370216,"d":"4.4552"},{"v":1.00550629299989,"d":"101%"},{"v":4.430754901670918,"d":"4.43"},null,4.2879]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},98,{"v":19.4434,"d":"19.44"},{"v":21.4,"d":"21.40"},{"v":294.4,"d":"294.4000"},36.5786,1.25,{"v":2.8539576241230766,"d":"2.8540"},{"v":0.5519552936146696,"d":"55%"},{"v":5.1706318557667075,"d":"5.17"},null,{"v":2.888,"d":"2.8880"}]
["Latitude","11º30,31 N",null,null,178,{"v":12.1489,"d":"12.15"},{"v":17.4,"d":"17.40"},{"v":290.4,"d":"290.4000"},{"v":35.275,"d":"35.2750"},1.02,{"v":2.297187717190892,"d":"2.2972"},{"v":0.3814538377943788,"d":"38%"},{"v":6.0221906023375285,"d":"6.02"},null,2.1909]
["Longitude","037º5720 W",null,null,698,{"v":6.8656,"d":"6.87"},{"v":14.6,"d":"14.60"},{"v":287.6,"d":"287.6000"},34.7975,0.98,{"v":2.1858213272930462,"d":"2.1858"},{"v":0.3218401172437147,"d":"32%"},{"v":6.791637245265557,"d":"6.79"},null,2.0995]
[{"$nulls":4},1500,{"v":4.3344000000000005,"d":"4.33"},{"v":15.6,"d":"15.60"},{"v":288.6,"d":"288.6000"},34.9772,2.21,{"v":4.9463893924224,"d":"4.9464"},{"v":0.6864556384468201,"d":"69%"},{"v":7.205694170732051,"d":"7.21"},null,4.9432]
[{"$nulls":4},4003,{"v":2.3963,"d":"2.40"},{"v":14,"d":"14.00"},{"v":287,"d":"287.0000"},34.8895,2.36,{"v":5.252833092312615,"d":"5.2528"},{"v":0.6942689199510572,"d":"69%"},{"v":7.565991997283871,"d":"7.57"},null,5.4623]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[17,"2011-08-29","16:11:00",5368,2,28.211,{"v":30,"d":"30.00"},{"v":303,"d":"303.0000"},36.3471,1.87,{"v":4.394241655990154,"d":"4.3942"},{"v":0.9882108768852987,"d":"99%"},{"v":4.446663924445138,"d":"4.45"},null,{"v":4.33,"d":"4.3300"}]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},1,28.21,{"v":30,"d":"30.00"},{"v":303,"d":"303.0000"},36.3522,1.86,{"v":4.370743037508923,"d":"4.3707"},{"v":0.9829382612424811,"d":"98%"},{"v":4.44660993456913,"d":"4.45"},null,4.3351]
["Latitude","13º14,43 N",null,null,17,27.88,{"v":28.8,"d":"28.80"},{"v":301.8,"d":"301.8000"},36.4313,1.86,{"v":4.353433164093047,"d":"4.3534"},{"v":0.9742314130616417,"d":"97%"},{"v":4.46858221334893,"d":"4.47"},null,4.3624]
["Longitude","038º00,22 W",null,null,142,14.92,{"v":21.2,"d":"21.20"},{"v":294.2,"d":"294.2000"},35.8174,1.03,{"v":2.350063486433477,"d":"2.3501"},{"v":0.4145543472110752,"d":"41%"},{"v":5.6688911894027605,"d":"5.67"},null,2.1911]
[{"$nulls":4},597,8.2,{"v":16.6,"d":"16.60"},{"v":289.6,"d":"289.6000"},34.9226,0.82,{"v":1.8416712633580308,"d":"1.8417"},{"v":0.2798450575695802,"d":"28%"},{"v":6.581039091248273,"d":"6.58"},null,{"v":1.8393000000000002,"d":"1.8393"}]
[{"$nulls":4},1498,4.42,{"v":14.4,"d":"14.40"},{"v":287.4,"d":"287.4000"},34.9922,2.07,{"v":4.613779244097967,"d":"4.6138"},{"v":0.6416984425523784,"d":"64%"},{"v":7.189949263000384,"d":"7.19"},null,4.7925]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[19,"2011-08-30","05:11:00",5764,1,{"v":27.4486,"d":"27.45"},{"v":25.9,"d":"25.90 "},{"v":298.9,"d":"298.9000"},36.6566,1.98,{"v":4.589768774521107,"d":"4.5898"},{"v":1.0211822466890246,"d":"102%"},{"v":4.494563815031546,"d":"4.49"},null,{"v":4.352,"d":"4.3520"}]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},32,25.99,{"v":25.7,"d":"25.70 "},{"v":298.7,"d":"298.7000"},36.7947,1.96,{"v":4.540367388473107,"d":"4.5404"},{"v":0.9868239841228603,"d":"99%"},{"v":4.600990107175818,"d":"4.60"},null,4.6497]
["Latitude","14º58,19 N",null,null,55,{"v":24.5089,"d":"24.51"},{"v":24.7,"d":"24.70 "},{"v":297.7,"d":"297.7000"},36.9947,2.05,{"v":4.7329552408639985,"d":"4.7330"},{"v":1.0043362347715032,"d":"100%"},{"v":4.712520644981802,"d":"4.71"},null,4.7343]
["Longitude","038º00,34 W",null,null,203,{"v":14.2858,"d":"14.29"},{"v":19.2,"d":"19.20 "},{"v":292.2,"d":"292.2000"},35.7775,1.12,{"v":2.5380369236440616,"d":"2.5380"},{"v":0.4419031701325485,"d":"44%"},{"v":5.743423209393994,"d":"5.74"},null,2.2023]
[{"$nulls":4},1502,{"v":4.534,"d":"4.53"},{"v":14,"d":"14.00 "},{"v":287,"d":"287.0000"},{"v":34.992,"d":"34.9920"},2.02,{"v":4.496069002742154,"d":"4.4961"},{"v":0.6270642567289985,"d":"63%"},{"v":7.170029154899262,"d":"7.17"},null,4.6521]
[{"$nulls":4},4080,{"v":2.3828,"d":"2.38"},{"v":14.2,"d":"14.20 "},{"v":287.2,"d":"287.2000"},34.8886,2.44,{"v":5.434679827014892,"d":"5.4347"},{"v":0.7180536228322212,"d":"72%"},{"v":7.568626707262986,"d":"7.57"},null,5.4402]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[24,"2011-09-14","21:52:00",4520,1,27.41,{"v":26,"d":"26.00"},{"v":299,"d":"299.0000"},35.5338,1.94,{"v":4.498550705024001,"d":"4.4986"},{"v":0.9939879200482551,"d":"99%"},{"v":4.525759935599227,"d":"4.53"},null,4.3444]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},106,24.2355,{"v":25.1,"d":"25.10"},{"v":298.1,"d":"298.1000"},36.6942,1.82,{"v":4.207586623116801,"d":"4.2076"},{"v":0.8871451764697389,"d":"89%"},{"v":4.742838866418978,"d":"4.74"},null,4.1326]
["Latitude","00º00,81 S",null,null,501,7.18,{"v":15.9,"d":"15.90"},{"v":288.9,"d":"288.9000"},34.6203,1.38,{"v":3.0919063410343384,"d":"3.0919"},{"v":0.4580611965518782,"d":"46%"},{"v":6.74998529521625,"d":"6.75"},null,{"v":2.9938000000000002,"d":"2.9938"}]
["Longitude","035°01,93W",null,null,762,4.83,{"v":14.3,"d":"14.30"},{"v":287.3,"d":"287.3000"},34.4962,1.65,{"v":3.6763704943680002,"d":"3.6764"},{"v":0.5147497404891862,"d":"51%"},{"v":7.142054099676099,"d":"7.14"},null,{"v":3.5221999999999998,"d":"3.5222"}]
[{"$nulls":4},1507,4.29,{"v":14,"d":"14.00"},{"v":287,"d":"287.0000"},34.9764,2.36,{"v":5.252833092312615,"d":"5.2528"},{"v":0.7281896300447941,"d":"73%"},{"v":7.2135510800799105,"d":"7.21"},null,5.1901]
[{"$nulls":4},4010,2.04,{"v":14,"d":"14.00"},{"v":287,"d":"287.0000"},34.8585,{"v":2.5,"d":"2.50"},{"v":5.564441835076923,"d":"5.5644"},{"v":0.7286695969403579,"d":"73%"},{"v":7.6364402445795685,"d":"7.64"},null,5.5508]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[25,"2011-09-18","09:01:00",5365,1,26.47,{"v":26,"d":"26.00"},{"v":299,"d":"299.0000"},36.1935,1.89,{"v":4.382608676544001,"d":"4.3826"},{"v":0.9569526243603576,"d":"96%"},{"v":4.579755115331238,"d":"4.58"},null,4.3727]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},93,25.35,{"v":25.1,"d":"25.10"},{"v":298.1,"d":"298.1000"},36.2656,1.89,{"v":4.369416877852062,"d":"4.3694"},{"v":0.9366721464002052,"d":"94%"},{"v":4.664830586288377,"d":"4.66"},null,4.2243]
["Latitude","07°49,13 S",null,null,706,5.32,{"v":16.8,"d":"16.80"},{"v":289.8,"d":"289.8000"},{"v":34.477,"d":"34.4770"},1.44,{"v":3.2363879457555695,"d":"3.2364"},{"v":0.4584699702061533,"d":"46%"},{"v":7.0591056253920215,"d":"7.06"},null,3.2687]
["Longitude","030°32,07 W",null,null,1111,4.11,{"v":14.8,"d":"14.80"},{"v":287.8,"d":"287.8000"},34.6561,1.75,{"v":3.9059667320369234,"d":"3.9060"},{"v":0.5379522159473323,"d":"54%"},{"v":7.2608061018180345,"d":"7.26"},null,{"v":3.8369999999999997,"d":"3.8370"}]
[{"$nulls":4},2022,3.37,{"v":14.2,"d":"14.20"},{"v":287.2,"d":"287.2000"},34.9443,2.42,{"v":5.3901332710557535,"d":"5.3901"},{"v":0.7303117471045539,"d":"73%"},{"v":7.380592318863637,"d":"7.38"},null,5.4172]
[{"$nulls":4},4060,{"v":1.8,"d":"1.80"},{"v":13.6,"d":"13.60"},{"v":286.6,"d":"286.6000"},34.0291,2.38,{"v":5.289965562704738,"d":"5.2900"},{"v":0.6846484253204043,"d":"68%"},{"v":7.726543094332133,"d":"7.73"},null,{"v":5.343,"d":"5.3430"}]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[27,"2011-09-29","10:32:00",5105,1,25.95,{"v":25.9,"d":"25.90"},{"v":298.9,"d":"298.9000"},36.4604,{"v":1.9,"d":"1.90"},{"v":4.404323571510153,"d":"4.4043"},{"v":0.9548071433451014,"d":"95%"},{"v":4.612788668589038,"d":"4.61"},null,4.4301]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},81,25.74,{"v":25.7,"d":"25.70"},{"v":298.7,"d":"298.7000"},{"v":36.623,"d":"36.6230"},1.92,{"v":4.4477068295246776,"d":"4.4477"},{"v":0.9617007868760771,"d":"96%"},{"v":4.624834345797203,"d":"4.62"},null,4.4406]
["Latitude","10°42,80 S",null,null,132,21.73,{"v":22.7,"d":"22.70"},{"v":295.7,"d":"295.7000"},36.6165,1.81,{"v":4.150778906821415,"d":"4.1508"},{"v":0.8371361710406497,"d":"84%"},{"v":4.958307919799419,"d":"4.96"},null,4.1153]
["Longitude","031°31,4 W",null,null,308,{"v":10.1,"d":"10.10"},{"v":15.1,"d":"15.10"},{"v":288.1,"d":"288.1000"},34.9312,1.03,{"v":2.301336813193354,"d":"2.3013"},{"v":0.3648621082649564,"d":"36%"},{"v":6.307415215400126,"d":"6.31"},null,{"v":2.205,"d":"2.2050"}]
[{"$nulls":4},703,5.34,{"v":15.4,"d":"15.40"},{"v":288.4,"d":"288.4000"},{"v":34.476,"d":"34.4760"},1.46,{"v":3.265485905010215,"d":"3.2655"},{"v":0.46281092196464296,"d":"46%"},{"v":7.055766728987623,"d":"7.06"},null,3.2631]
[{"$nulls":4},1488,4.23,{"v":14.2,"d":"14.20"},{"v":287.2,"d":"287.2000"},34.9193,2.15,{"v":4.7887547656073846,"d":"4.7888"},{"v":0.6626315658326093,"d":"66%"},{"v":7.226873895737554,"d":"7.23"},null,4.7985]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[28,"2011-09-29","22:10:00",2587,6,{"v":25.8,"d":"25.80"},{"v":25.6,"d":"25.60"},{"v":298.6,"d":"298.6000"},36.5752,1.92,{"v":4.446217808155571,"d":"4.4462"},{"v":0.962088947826528,"d":"96%"},{"v":4.621420730588476,"d":"4.62"},null,4.4532]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},134,22.78,{"v":23,"d":"23.00"},{"v":296,"d":"296.0000"},36.8273,1.88,{"v":4.315680268130461,"d":"4.3157"},{"v":0.8878556387935203,"d":"89%"},{"v":4.860790515443374,"d":"4.86"},null,4.3473]
["Latitude","12°08,30 S",null,null,306,11.53,{"v":16.2,"d":"16.20"},{"v":289.2,"d":"289.2000"},35.0771,1.13,{"v":2.5344074340568614,"d":"2.5344"},{"v":0.414831754195133,"d":"41%"},{"v":6.109482720227583,"d":"6.11"},null,2.5138]
["Longitude","032°03,37 W",null,null,504,6.62,{"v":15.8,"d":"15.80"},{"v":288.8,"d":"288.8000"},34.5373,1.48,{"v":3.314809737861908,"d":"3.3148"},{"v":0.48446096445895914,"d":"48%"},{"v":6.842263837632103,"d":"6.84"},null,{"v":3.324,"d":"3.3240"}]
[{"$nulls":4},709,5.07,{"v":15,"d":"15.00"},{"v":288,"d":"288.0000"},34.4534,1.55,{"v":3.4619746831753844,"d":"3.4620"},{"v":0.4874118644797195,"d":"49%"},{"v":7.1027706452546395,"d":"7.10"},null,3.4634]
[{"$nulls":4},1517,4.09,{"v":14.7,"d":"14.70"},{"v":287.7,"d":"287.7000"},34.9037,2.18,{"v":4.8640278979436316,"d":"4.8640"},{"v":0.6706734274327721,"d":"67%"},{"v":7.252453577238526,"d":"7.25"},null,4.7825]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[29,"2011-09-30","09:15:00",4670,6,25.41,{"v":25.5,"d":"25.50"},{"v":298.5,"d":"298.5000"},{"v":36.927,"d":"36.9270"},1.9500000000000002,{"v":4.51417767408,"d":"4.5142"},{"v":0.9723326095748638,"d":"97%"},{"v":4.642627049249895,"d":"4.64"},null,4.4874]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},120,25.24,{"v":25.2,"d":"25.20"},{"v":298.2,"d":"298.2000"},37.0082,1.9300000000000002,{"v":4.463388085818093,"d":"4.4634"},{"v":0.9590744054132718,"d":"96%"},{"v":4.653849649855673,"d":"4.65"},null,4.4698]
["Latitude","13°33,10 S",null,null,710,4.79,{"v":16,"d":"16.00"},{"v":289,"d":"289.0000"},34.3764,1.67,{"v":3.7429499133981534,"d":"3.7429"},{"v":0.5231508192689404,"d":"52%"},{"v":7.1546287906585215,"d":"7.15"},null,3.8818]
["Longitude","032°31,80 W",null,null,1107,3.92,{"v":14.5,"d":"14.50"},{"v":287.5,"d":"287.5000"},34.6534,1.83,{"v":4.080267540738462,"d":"4.0803"},{"v":0.5593296569600686,"d":"56%"},{"v":7.294924361626972,"d":"7.29"},null,4.0764]
[{"$nulls":4},2019,3.29,{"v":13.9,"d":"13.90"},{"v":286.9,"d":"286.9000"},34.9471,2.46,{"v":5.473502957086521,"d":"5.4735"},{"v":0.7401462758957768,"d":"74%"},{"v":7.395163814696096,"d":"7.40"},null,5.5305]
[{"$nulls":4},4062,1.71,{"v":13.2,"d":"13.20"},{"v":286.2,"d":"286.2000"},{"v":34.821,"d":"34.8210"},2.38,{"v":5.282582498416247,"d":"5.2826"},{"v":0.6857677350351118,"d":"69%"},{"v":7.703165705434909,"d":"7.70"},null,5.2941]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[30,"2011-10-01","07:30:00",4535,1,25.0499,{"v":25.1,"d":"25.10"},{"v":298.1,"d":"298.1000"},37.1042,1.98,{"v":4.57748434822597,"d":"4.5775"},{"v":0.9809607136803441,"d":"98%"},{"v":4.666327901198283,"d":"4.67"},null,4.4745]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},115,24.1443,{"v":24.9,"d":"24.90"},{"v":297.9,"d":"297.9000"},37.2177,{"v":1.9500000000000002,"d":"1.95"},{"v":4.505103950112,"d":"4.5051"},{"v":0.9512332697172874,"d":"95%"},{"v":4.736066424012845,"d":"4.74"},null,4.5146]
["Latitude","14°53,90 S",null,null,253,14.6943,{"v":18.2,"d":"18.20"},{"v":291.2,"d":"291.2000"},35.4133,1.77,{"v":3.9972778653696004,"d":"3.9973"},{"v":0.7001890085220004,"d":"70%"},{"v":5.7088554900444475,"d":"5.71"},null,3.9912]
["Longitude","033°07,20 W",null,null,533,6.7926,{"v":16.4,"d":"16.40"},{"v":289.4,"d":"289.4000"},34.5585,1.41,{"v":3.1645891966139073,"d":"3.1646"},{"v":0.4644395489410403,"d":"46%"},{"v":6.813780617583982,"d":"6.81"},null,{"v":3.166,"d":"3.1660"}]
[{"$nulls":4},712,4.5853,{"v":16,"d":"16.00"},{"v":289,"d":"289.0000"},34.4036,1.82,{"v":4.079143019392,"d":"4.0791"},{"v":0.5674156146917536,"d":"57%"},{"v":7.188986192436702,"d":"7.19"},null,4.0632]
[{"$nulls":4},1502,3.9239,{"v":14.8,"d":"14.80"},{"v":287.8,"d":"287.8000"},34.9044,{"v":2.2,"d":"2.20"},{"v":4.910358177417847,"d":"4.9104"},{"v":0.6743071719013745,"d":"67%"},{"v":7.282079120665272,"d":"7.28"},null,4.9013]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[31,"2011-10-01","17:56:00",4525,1,24.95,{"v":25,"d":"25.00"},{"v":298,"d":"298.0000"},37.2498,2.02,{"v":4.668392204937846,"d":"4.6684"},{"v":0.9995741318786636,"d":"100%"},{"v":4.670381171393232,"d":"4.67"},null,4.5225]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},161,23.72,{"v":24.2,"d":"24.20"},{"v":297.2,"d":"297.2000"},37.2516,1.96,{"v":4.517566748758646,"d":"4.5176"},{"v":0.9470852069424996,"d":"95%"},{"v":4.769968652918597,"d":"4.77"},null,4.4926]
["Latitude","16°14,21 S",null,null,199,19.93,{"v":20.8,"d":"20.80"},{"v":293.8,"d":"293.8000"},36.3533,1.88,{"v":4.2836042661376,"d":"4.2836"},{"v":0.8348320584489298,"d":"83%"},{"v":5.131096994641403,"d":"5.13"},null,4.2721]
["Longitude","033°38,83 W",null,null,449,9.08,{"v":18.9,"d":"18.90"},{"v":291.9,"d":"291.9000"},34.7414,1.52,{"v":3.4409422563367387,"d":"3.4409"},{"v":0.5327095766964867,"d":"53%"},{"v":6.459321188996062,"d":"6.46"},null,3.4065]
[{"$nulls":4},702,4.67,{"v":14.5,"d":"14.50"},{"v":287.5,"d":"287.5000"},34.3923,1.88,{"v":4.191750260430769,"d":"4.1918"},{"v":0.5842375758138035,"d":"58%"},{"v":7.1747358163191475,"d":"7.17"},null,4.1837]
[{"$nulls":4},1557,4.01,{"v":13.2,"d":"13.20"},{"v":286.2,"d":"286.2000"},34.9352,2.26,{"v":5.0162338010171075,"d":"5.0162"},{"v":0.690447396277018,"d":"69%"},{"v":7.265193305189202,"d":"7.27"},null,5.0429]
["ESTAÇÃO","DATA","HORA","PROFUND","PROFUND","TEMP (ºC)","TEMP (ºC)","TEMP (K)","SALINIDADE","VOL,gasto","WINKLER","PORCENTAGEM","SOLUBILIDADE",null,"CTD"]
[null,null,"HMG","LOCAL (m)","COLETA","CTD","BANCADA",null,"PSU","tiossulfato","OD (ml / L)",null,"DO OXIGENIO",null,"OD (ml / L)"]
[33,"2011-10-02","17:26:00",4177,1,24.1,{"v":24.8,"d":"24.80"},{"v":297.8,"d":"297.8000"},37.315,1.97,{"v":4.549782346504862,"d":"4.5498"},{"v":0.9604699078783224,"d":"96%"},{"v":4.737037890708444,"d":"4.74"},null,{"v":4.5539000000000005,"d":"4.5539"}]
["POSIÇÃO GEOGRÁFICA",{"$nulls":3},138,23.77,{"v":24,"d":"24.00"},{"v":297,"d":"297.0000"},37.2781,1.94,{"v":4.4684600648566155,"d":"4.4685"},{"v":0.9377445567369103,"d":"94%"},{"v":4.765114372303702,"d":"4.77"},null,4.4991]
["Latitude","18°58,13 S",null,null,507,9.07,{"v":18.7,"d":"18.70"},{"v":291.7,"d":"291.7000"},34.7098,1.81,{"v":4.094630392694646,"d":"4.0946"},{"v":0.633640551519807,"d":"63%"},{"v":6.462071252973859,"d":"6.46"},null,4.0054]
["Longitude","034°47,72 W",null,null,1008,3.62,{"v":14.2,"d":"14.20"},{"v":287.2,"d":"287.2000"},34.4814,1.86,{"v":4.142829704199877,"d":"4.1428"},{"v":0.5630693939891774,"d":"56%"},{"v":7.357582828022624,"d":"7.36"},null,4.1461]
[{"$nulls":4},2521,2.91,{"v":13.1,"d":"13.10"},{"v":286.1,"d":"286.1000"},34.9281,2.42,{"v":5.369488610198646,"d":"5.3695"},{"v":0.7191253058890916,"d":"72%"},{"v":7.466694004823083,"d":"7.47"},null,5.3308]
[{"$nulls":4},3760,1.63,{"v":12.2,"d":"12.20"},{"v":285.2,"d":"285.2000"},34.8118,2.37,{"v":5.242006666108063,"d":"5.2420"},{"v":0.6790604913258085,"d":"68%"},{"v":7.719498826788591,"d":"7.72"},null,5.2519]
[]
[]
[]
[null,"DADOS COMPLEMENTARES"]
[]
[null,"FATOR DE CORREÇÃO TIOSSULFATO DE SÓDIO",{"$nulls":7},{"v":0.94517958,"d":"0.945180"}]
[null,"VOLUME TOTAL DA ALICOTA UTILIZADA PARA ANÁLISE (ml)",{"$nulls":7},50]
[]
[null,"OBSERVAÇÕES GERAIS"]
[null," PERFIL Nº",null,null,3]
[null,"Nº ESTAÇÕES ",null,null,33]
[null,"REALIZADAS",null,null,15]
[null,"LEITURA DAS AMOSTRAS",null,null,90]
[]
[null,"FEITO POR : ",null,"CB HN Lourenço"]
[null,"CONFERIDO POR: ",null,"CB HN Ornelis"]

{"sheet":"PIR001","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":" PIR003","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR005","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR007","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR015","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR017","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR019","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR024","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR025","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR027","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR028","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR029","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR030","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR031","index":14,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"PIR033","index":15,"n_rows":0,"n_cols":0,"rows_kept":0,"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}

{"sheet":"COMP. OD BANCADAxCTD","index":16,"n_rows":381,"n_cols":6,"rows_kept":381,"merged":[[0,0,0,5],[2,0,2,3],[3,0,3,5],[4,0,4,3],[339,3,339,5]],"headers":{"footer":["","Página"]},"flags":["formulas_cached_only"]}
["PIRATA XIII / 2011."]
[]
[]
["COMPARAÇÃO ENTRE VALORES DE OD  CTD - BANCADA"]
[]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - BANCADA."]
["PIR-001",12,2,4.3296,4.2321,{"v":0.09750000000000014,"d":"0.0975"}]
[null,10,79,4.3353,4.2146,{"v":0.12070000000000025,"d":"0.1207"}]
[null,8,99,4.4961,4.2321,{"v":0.26400000000000023,"d":"0.2640"}]
[null,6,150,4.0513,4.0812,{"v":-0.029899999999999594,"d":"-0.0299"}]
[null,4,598,3.7717,3.8479,{"v":-0.07620000000000005,"d":"-0.0762"}]
[null,2,1496,5.0314,4.7608,{"v":0.27059999999999995,"d":"0.2706"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-003",12,3,4.3295,{"v":4.48882131531314,"d":"4.4888"},{"v":-0.15932131531313942,"d":"-0.1593"}]
[null,10,108,4.0266,{"v":4.20752693817692,"d":"4.2075"},{"v":-0.18092693817691963,"d":"-0.1809"}]
[null,8,128,3.7935,{"v":3.65927001458215,"d":"3.6593"},{"v":0.13422998541784992,"d":"0.1342"}]
[null,6,400,{"v":2.9854000000000003,"d":"2.9854"},{"v":2.99535261163126,"d":"2.9954"},{"v":-0.0099526116312596,"d":"-0.0100"}]
[null,4,685,3.3149,{"v":3.35613008085465,"d":"3.3561"},{"v":-0.04123008085464974,"d":"-0.0412"}]
[null,2,1493,5.1594,{"v":5.0098046410432,"d":"5.0098"},{"v":0.14959535895679998,"d":"0.1496"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-005",12,3,4.3225,{"v":4.31281079986708,"d":"4.3128"},{"v":0.00968920013291985,"d":"0.0097"}]
[null,10,95,3.9147,{"v":3.91389266869957,"d":"3.9139"},{"v":0.0008073313004297589,"d":"0.0008"}]
[null,8,113,{"v":2.058,"d":"2.0580"},{"v":2.04237118008271,"d":"2.0424"},{"v":0.015628819917290038,"d":"0.0156"}]
[null,6,495,2.8791,{"v":2.82304492007483,"d":"2.8230"},{"v":0.056055079925170226,"d":"0.0561"}]
[null,4,698,{"v":3.322,"d":"3.3220"},{"v":3.35146137843692,"d":"3.3515"},{"v":-0.029461378436919983,"d":"-0.0295"}]
[null,2,1470,5.0361,{"v":4.99442584221539,"d":"4.9944"},{"v":0.04167415778460981,"d":"0.0417"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-007",12,3,4.2945,{"v":4.27237456331225,"d":"4.2724"},{"v":0.02212543668774991,"d":"0.0221"}]
[null,10,89,4.0834,{"v":4.06611408241231,"d":"4.0661"},{"v":0.01728591758769049,"d":"0.0173"}]
[null,8,116,3.0899,{"v":3.04898840219766,"d":"3.0490"},{"v":0.040911597802339994,"d":"0.0409"}]
[null,6,399,{"v":3.1249000000000002,"d":"3.1249"},{"v":3.07162618019988,"d":"3.0716"},{"v":0.05327381980012014,"d":"0.0533"}]
[null,4,700,2.9003,{"v":2.89350975424,"d":"2.8935"},{"v":0.00679024575999998,"d":"0.0068"}]
[null,2,3512,{"v":5.705,"d":"5.7050"},{"v":5.760806528128,"d":"5.7608"},{"v":-0.05580652812799958,"d":"-0.0558"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-015",12,4,4.2879,{"v":4.45515193637022,"d":"4.4552"},{"v":-0.16725193637022073,"d":"-0.1673"}]
[null,10,98,{"v":2.888,"d":"2.8880"},{"v":2.8539576241230797,"d":"2.8540"},{"v":0.03404237587692016,"d":"0.0340"}]
[null,8,178,2.1909,{"v":2.29718771719089,"d":"2.2972"},{"v":-0.10628771719088981,"d":"-0.1063"}]
[null,6,698,2.0995,{"v":2.1858213272930502,"d":"2.1858"},{"v":-0.08632132729305031,"d":"-0.0863"}]
[null,4,1500,4.9432,{"v":4.9463893924224,"d":"4.9464"},{"v":-0.003189392422400239,"d":"-0.0032"}]
[null,2,4003,5.4623,{"v":5.25283309231262,"d":"5.2528"},{"v":0.2094669076873803,"d":"0.2095"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-017",12,2,{"v":4.33,"d":"4.3300"},{"v":4.39424165599015,"d":"4.3942"},{"v":-0.06424165599015019,"d":"-0.0642"}]
[null,10,1,4.3351,{"v":4.37074303750892,"d":"4.3707"},{"v":-0.03564303750891984,"d":"-0.0356"}]
[null,8,17,4.3624,{"v":4.35343316409305,"d":"4.3534"},{"v":0.00896683590694991,"d":"0.0090"}]
[null,6,142,2.1911,{"v":2.35006348643348,"d":"2.3501"},{"v":-0.15896348643348013,"d":"-0.1590"}]
[null,4,597,{"v":1.8393000000000002,"d":"1.8393"},{"v":1.8416712633580299,"d":"1.8417"},{"v":-0.0023712633580297293,"d":"-0.0024"}]
[null,2,1498,4.7925,{"v":4.61377924409797,"d":"4.6138"},{"v":0.17872075590203007,"d":"0.1787"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-019",12,1,{"v":4.352,"d":"4.3520"},{"v":4.58976877452111,"d":"4.5898"},{"v":-0.23776877452110945,"d":"-0.2378"}]
[null,10,32,4.6497,{"v":4.5403673884731095,"d":"4.5404"},{"v":0.10933261152689067,"d":"0.1093"}]
[null,8,55,4.7343,{"v":4.732955240864,"d":"4.7330"},{"v":0.0013447591359998512,"d":"0.0013"}]
[null,6,203,2.2023,{"v":2.53803692364406,"d":"2.5380"},{"v":-0.3357369236440597,"d":"-0.3357"}]
[null,4,1502,4.6521,{"v":4.49606900274215,"d":"4.4961"},{"v":0.15603099725784997,"d":"0.1560"}]
[null,2,4080,5.4402,{"v":5.43467982701489,"d":"5.4347"},{"v":0.005520172985109539,"d":"0.0055"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-024",12,1,4.3444,{"v":4.498550705024,"d":"4.4986"},{"v":-0.15415070502399963,"d":"-0.1542"}]
[null,10,106,4.1326,{"v":4.2075866231168,"d":"4.2076"},{"v":-0.07498662311679993,"d":"-0.0750"}]
[null,8,501,{"v":2.9938000000000002,"d":"2.9938"},{"v":3.09190634103434,"d":"3.0919"},{"v":-0.0981063410343399,"d":"-0.0981"}]
[null,6,762,{"v":3.5221999999999998,"d":"3.5222"},{"v":3.6763704943680002,"d":"3.6764"},{"v":-0.15417049436800045,"d":"-0.1542"}]
[null,4,1507,5.1901,{"v":5.25283309231262,"d":"5.2528"},{"v":-0.06273309231261948,"d":"-0.0627"}]
[null,2,4010,5.5508,{"v":5.56444183507692,"d":"5.5644"},{"v":-0.013641835076920295,"d":"-0.0136"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-025",12,1,4.3727,{"v":4.382608676544,"d":"4.3826"},{"v":-0.00990867654399974,"d":"-0.0099"}]
[null,10,93,4.2243,{"v":4.36941687785206,"d":"4.3694"},{"v":-0.1451168778520593,"d":"-0.1451"}]
[null,8,706,3.2687,{"v":3.23638794575557,"d":"3.2364"},{"v":0.032312054244429955,"d":"0.0323"}]
[null,6,1111,{"v":3.8369999999999997,"d":"3.8370"},{"v":3.9059667320369202,"d":"3.9060"},{"v":-0.0689667320369205,"d":"-0.0690"}]
[null,4,2022,5.4172,{"v":5.39013327105575,"d":"5.3901"},{"v":0.02706672894425033,"d":"0.0271"}]
[null,2,4060,{"v":5.343,"d":"5.3430"},{"v":5.28996556270474,"d":"5.2900"},{"v":0.053034437295259806,"d":"0.0530"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-027",12,1,4.4301,{"v":4.40432357151015,"d":"4.4043"},{"v":0.02577642848985029,"d":"0.0258"}]
[null,10,81,4.4406,{"v":4.44770682952468,"d":"4.4477"},{"v":-0.007106829524680336,"d":"-0.0071"}]
[null,8,132,4.1153,{"v":4.15077890682142,"d":"4.1508"},{"v":-0.03547890682141919,"d":"-0.0355"}]
[null,6,308,{"v":2.205,"d":"2.2050"},{"v":2.30133681319335,"d":"2.3013"},{"v":-0.09633681319334997,"d":"-0.0963"}]
[null,4,703,3.2631,{"v":3.26548590501022,"d":"3.2655"},{"v":-0.0023859050102199575,"d":"-0.0024"}]
[null,2,1488,4.7985,{"v":4.78875476560738,"d":"4.7888"},{"v":0.00974523439261965,"d":"0.0097"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-028",12,6,4.4532,{"v":4.44621780815557,"d":"4.4462"},{"v":0.006982191844429941,"d":"0.0070"}]
[null,10,134,4.3473,{"v":4.3156802681304605,"d":"4.3157"},{"v":0.03161973186953926,"d":"0.0316"}]
[null,8,306,2.5138,{"v":2.53440743405686,"d":"2.5344"},{"v":-0.020607434056860274,"d":"-0.0206"}]
[null,6,504,{"v":3.324,"d":"3.3240"},{"v":3.31480973786191,"d":"3.3148"},{"v":0.009190262138089711,"d":"0.0092"}]
[null,4,709,3.4634,{"v":3.46197468317538,"d":"3.4620"},{"v":0.0014253168246201042,"d":"0.0014"}]
[null,2,1517,4.7825,{"v":4.86402789794363,"d":"4.8640"},{"v":-0.08152789794363002,"d":"-0.0815"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-029",12,6,4.4874,{"v":4.51417767408,"d":"4.5142"},{"v":-0.02677767407999987,"d":"-0.0268"}]
[null,10,120,4.4698,{"v":4.46338808581809,"d":"4.4634"},{"v":0.006411914181910561,"d":"0.0064"}]
[null,8,710,3.8818,{"v":3.74294991339815,"d":"3.7429"},{"v":0.13885008660185028,"d":"0.1389"}]
[null,6,1107,4.0764,{"v":4.08026754073846,"d":"4.0803"},{"v":-0.0038675407384607396,"d":"-0.0039"}]
[null,4,2019,5.5305,{"v":5.47350295708652,"d":"5.4735"},{"v":0.056997042913479845,"d":"0.0570"}]
[null,2,4062,5.2941,{"v":5.28258249841625,"d":"5.2826"},{"v":0.01151750158375009,"d":"0.0115"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-030",12,1502,4.4745,{"v":4.57748434822597,"d":"4.5775"},{"v":-0.10298434822597002,"d":"-0.1030"}]
[null,10,712,4.5146,{"v":4.505103950112,"d":"4.5051"},{"v":0.009496049887999902,"d":"0.0095"}]
[null,8,533,3.9912,{"v":3.9972778653696,"d":"3.9973"},{"v":-0.006077865369599866,"d":"-0.0061"}]
[null,6,253,{"v":3.166,"d":"3.1660"},{"v":3.16458919661391,"d":"3.1646"},{"v":0.0014108033860900093,"d":"0.0014"}]
[null,3,115,4.0632,{"v":4.079143019392,"d":"4.0791"},{"v":-0.015943019392000046,"d":"-0.0159"}]
[null,2,1,4.9013,{"v":4.91035817741785,"d":"4.9104"},{"v":-0.009058177417849755,"d":"-0.0091"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-031",12,1,4.5225,{"v":4.66839220493785,"d":"4.6684"},{"v":-0.1458922049378497,"d":"-0.1459"}]
[null,10,161,4.4926,{"v":4.51756674875865,"d":"4.5176"},{"v":-0.024966748758649793,"d":"-0.0250"}]
[null,8,199,4.2721,{"v":4.2836042661376,"d":"4.2836"},{"v":-0.01150426613760036,"d":"-0.0115"}]
[null,6,449,3.4065,{"v":3.44094225633674,"d":"3.4409"},{"v":-0.03444225633674014,"d":"-0.0344"}]
[null,4,702,4.1837,{"v":4.19175026043077,"d":"4.1918"},{"v":-0.008050260430770173,"d":"-0.0081"}]
[null,2,1557,5.0429,{"v":5.01623380101711,"d":"5.0162"},{"v":0.026666198982890243,"d":"0.0267"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-033",12,1,{"v":4.5539000000000005,"d":"4.5539"},{"v":4.54978234650486,"d":"4.5498"},{"v":0.004117653495140594,"d":"0.0041"}]
[null,10,138,4.4991,{"v":4.46846006485662,"d":"4.4685"},{"v":0.03063993514338037,"d":"0.0306"}]
[null,8,507,4.0054,{"v":4.09463039269465,"d":"4.0946"},{"v":-0.08923039269464983,"d":"-0.0892"}]
[null,6,1008,4.1461,{"v":4.14282970419988,"d":"4.1428"},{"v":0.00327029580012006,"d":"0.0033"}]
[null,4,2521,5.3308,{"v":5.36948861019865,"d":"5.3695"},{"v":-0.03868861019865033,"d":"-0.0387"}]
[null,2,3760,5.2519,{"v":5.24200666610806,"d":"5.2420"},{"v":0.009893333891939804,"d":"0.0099"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["PIR-033",12,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,10,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,8,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,6,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,4,{"$nulls":3},{"v":0,"d":"0.0000"}]
[null,2,{"$nulls":3},{"v":0,"d":"0.0000"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 017",8,1,3.5602,{"v":3.91,"d":"3.9100"},{"v":-0.3498000000000001,"d":"-0.3498"}]
[null,7,40,3.5386,{"v":4.08,"d":"4.0800"},{"v":-0.5413999999999999,"d":"-0.5414"}]
[null,6,150,{"v":3.243,"d":"3.2430"},{"v":4.18,"d":"4.1800"},{"v":-0.9369999999999998,"d":"-0.9370"}]
[null,5,400,3.0898,{"v":3.61,"d":"3.6100"},-0.5202]
[null,4,830,2.8102,{"v":4.28,"d":"4.2800"},{"v":-1.4698000000000002,"d":"-1.4698"}]
[null,3,1500,2.0852,{"v":3.36,"d":"3.3600"},-1.2748]
[null,2,2100,{"v":2.3101000000000003,"d":"2.3101"},{"v":4.01,"d":"4.0100"},{"v":-1.6998999999999995,"d":"-1.6999"}]
[null,1,2680,2.2787,{"v":3.56,"d":"3.5600"},{"v":-1.2812999999999999,"d":"-1.2813"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 018",6,1,3.6056,{"v":3.64,"d":"3.6400"},{"v":-0.03440000000000021,"d":"-0.0344"}]
[null,5,50,3.5096,{"v":3.61,"d":"3.6100"},{"v":-0.10040000000000004,"d":"-0.1004"}]
[null,4,75,3.2195,{"v":3.73,"d":"3.7300"},-0.5105]
[null,3,95,2.9747,{"v":3.49,"d":"3.4900"},{"v":-0.5153000000000003,"d":"-0.5153"}]
[null,2,115,2.9203,{"v":3.54,"d":"3.5400"},{"v":-0.6196999999999999,"d":"-0.6197"}]
[null,1,125,2.9207,{"v":3.56,"d":"3.5600"},-0.6393]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 019",6,2,{"v":3.5639000000000003,"d":"3.5639"},{"v":3.61,"d":"3.6100"},{"v":-0.046099999999999586,"d":"-0.0461"}]
[null,5,25,3.5654,{"v":3.64,"d":"3.6400"},{"v":-0.07460000000000022,"d":"-0.0746"}]
[null,4,50,3.5148,{"v":3.68,"d":"3.6800"},-0.1652]
[null,3,80,3.0855,{"v":3.46,"d":"3.4600"},{"v":-0.37449999999999983,"d":"-0.3745"}]
[null,2,110,{"v":2.969,"d":"2.9690"},{"v":3.39,"d":"3.3900"},{"v":-0.42100000000000026,"d":"-0.4210"}]
[null,1,120,2.9661,{"v":3.41,"d":"3.4100"},{"v":-0.4439000000000002,"d":"-0.4439"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 020",6,2,3.5491,{"v":3.71,"d":"3.7100"},{"v":-0.16089999999999982,"d":"-0.1609"}]
[null,5,20,3.5484,{"v":3.68,"d":"3.6800"},{"v":-0.13160000000000016,"d":"-0.1316"}]
[null,4,40,{"v":3.476,"d":"3.4760"},{"v":3.59,"d":"3.5900"},{"v":-0.11399999999999988,"d":"-0.1140"}]
[null,3,60,3.3198,{"v":3.46,"d":"3.4600"},{"v":-0.1402000000000001,"d":"-0.1402"}]
[null,2,120,3.1358,{"v":3.49,"d":"3.4900"},{"v":-0.35420000000000007,"d":"-0.3542"}]
[null,1,148,{"v":3.007,"d":"3.0070"},{"v":3.34,"d":"3.3400"},{"v":-0.33299999999999974,"d":"-0.3330"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 021",8,1,3.6393,{"v":3.73,"d":"3.7300"},-0.0907]
[null,7,20,3.6187,{"v":3.71,"d":"3.7100"},{"v":-0.09129999999999994,"d":"-0.0913"}]
[null,6,120,{"v":3.4835000000000003,"d":"3.4835"},{"v":3.51,"d":"3.5100"},{"v":-0.026499999999999524,"d":"-0.0265"}]
[null,5,400,2.9527,{"v":3.36,"d":"3.3600"},{"v":-0.4072999999999998,"d":"-0.4073"}]
[null,4,680,2.5839,{"v":3.21,"d":"3.2100"},{"v":-0.6261000000000001,"d":"-0.6261"}]
[null,3,780,2.4926,{"v":3.12,"d":"3.1200"},{"v":-0.6274000000000002,"d":"-0.6274"}]
[null,2,1464,2.1886,{"v":3.14,"d":"3.1400"},-0.9514]
[null,1,2148,2.3659,{"v":3.07,"d":"3.0700"},-0.7041]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 022",8,1,3.6039,{"v":2.68,"d":"2.6800"},{"v":0.9238999999999997,"d":"0.9239"}]
[null,7,15,3.6058,{"v":3.71,"d":"3.7100"},{"v":-0.10420000000000007,"d":"-0.1042"}]
[null,6,85,3.3205,{"v":3.41,"d":"3.4100"},{"v":-0.08950000000000014,"d":"-0.0895"}]
[null,5,350,3.0574,{"v":3.51,"d":"3.5100"},{"v":-0.4525999999999999,"d":"-0.4526"}]
[null,4,740,2.7332,{"v":3.17,"d":"3.1700"},{"v":-0.43679999999999986,"d":"-0.4368"}]
[null,3,900,2.5746,{"v":3.24,"d":"3.2400"},-0.6654]
[null,2,1740,2.1881,{"v":3.19,"d":"3.1900"},-1.0019]
[null,1,3100,{"v":2.172,"d":"2.1720"},{"v":2.99,"d":"2.9900"},{"v":-0.8180000000000001,"d":"-0.8180"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 023",8,1,{"v":3.578,"d":"3.5780"},{"v":3.78,"d":"3.7800"},{"v":-0.20199999999999996,"d":"-0.2020"}]
[null,7,20,3.5947,{"v":3.81,"d":"3.8100"},{"v":-0.21530000000000005,"d":"-0.2153"}]
[null,6,40,{"v":3.6085000000000003,"d":"3.6085"},{"v":3.91,"d":"3.9100"},{"v":-0.3014999999999999,"d":"-0.3015"}]
[null,5,250,{"v":3.14,"d":"3.1400"},{"v":3.51,"d":"3.5100"},{"v":-0.36999999999999966,"d":"-0.3700"}]
[null,4,750,2.5586,{"v":3.21,"d":"3.2100"},{"v":-0.6513999999999998,"d":"-0.6514"}]
[null,3,970,2.3638,{"v":3.14,"d":"3.1400"},{"v":-0.7762000000000002,"d":"-0.7762"}]
[null,2,1800,2.2144,{"v":3.04,"d":"3.0400"},{"v":-0.8256000000000001,"d":"-0.8256"}]
[null,1,2730,2.2018,{"v":3.07,"d":"3.0700"},{"v":-0.8681999999999999,"d":"-0.8682"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 024",6,1,3.5428,{"v":3.59,"d":"3.5900"},{"v":-0.04719999999999969,"d":"-0.0472"}]
[null,5,25,3.5581,{"v":3.71,"d":"3.7100"},{"v":-0.15189999999999992,"d":"-0.1519"}]
[null,4,40,{"v":3.5606999999999998,"d":"3.5607"},{"v":3.56,"d":"3.5600"},{"v":0.0006999999999997009,"d":"0.0007"}]
[null,3,290,3.1414,{"v":3.51,"d":"3.5100"},{"v":-0.3685999999999998,"d":"-0.3686"}]
[null,2,400,2.9818,{"v":3.39,"d":"3.3900"},{"v":-0.40820000000000034,"d":"-0.4082"}]
[null,1,600,2.6052,{"v":3.26,"d":"3.2600"},{"v":-0.6547999999999998,"d":"-0.6548"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 025",6,1,3.5594,{"v":3.83,"d":"3.8300"},{"v":-0.27059999999999995,"d":"-0.2706"}]
[null,5,20,{"v":3.555,"d":"3.5550"},{"v":3.81,"d":"3.8100"},{"v":-0.2549999999999999,"d":"-0.2550"}]
[null,4,50,{"v":3.5564999999999998,"d":"3.5565"},{"v":3.81,"d":"3.8100"},{"v":-0.2535000000000003,"d":"-0.2535"}]
[null,3,130,3.0139,{"v":3.54,"d":"3.5400"},-0.5261]
[null,2,170,2.9465,{"v":3.12,"d":"3.1200"},{"v":-0.1735000000000002,"d":"-0.1735"}]
[null,1,195,2.9142,{"v":3.09,"d":"3.0900"},{"v":-0.17579999999999973,"d":"-0.1758"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 026",6,1,{"v":3.5643000000000002,"d":"3.5643"},{"v":3.59,"d":"3.5900"},{"v":-0.025699999999999612,"d":"-0.0257"}]
[null,5,20,{"v":3.5662000000000003,"d":"3.5662"},{"v":3.61,"d":"3.6100"},{"v":-0.04379999999999962,"d":"-0.0438"}]
[null,4,40,3.5523,{"v":3.46,"d":"3.4600"},{"v":0.09229999999999983,"d":"0.0923"}]
[null,3,70,3.2043,{"v":3.34,"d":"3.3400"},{"v":-0.13569999999999993,"d":"-0.1357"}]
[null,2,90,3.0115,{"v":3.19,"d":"3.1900"},{"v":-0.1785000000000001,"d":"-0.1785"}]
[null,1,120,{"v":2.924,"d":"2.9240"},{"v":3.04,"d":"3.0400"},{"v":-0.1160000000000001,"d":"-0.1160"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 027",6,1,3.5574,{"v":3.73,"d":"3.7300"},{"v":-0.1726000000000001,"d":"-0.1726"}]
[null,5,20,{"v":3.598,"d":"3.5980"},{"v":3.64,"d":"3.6400"},{"v":-0.04200000000000026,"d":"-0.0420"}]
[null,4,30,3.5934,{"v":3.61,"d":"3.6100"},{"v":-0.016599999999999948,"d":"-0.0166"}]
[null,3,45,3.3196,{"v":3.61,"d":"3.6100"},-0.2904]
[null,2,75,3.0096,{"v":3.24,"d":"3.2400"},{"v":-0.23040000000000038,"d":"-0.2304"}]
[null,1,110,2.9029,{"v":2.94,"d":"2.9400"},{"v":-0.03710000000000013,"d":"-0.0371"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 028",4,1,3.6159,{"v":3.68,"d":"3.6800"},{"v":-0.06410000000000027,"d":"-0.0641"}]
[null,3,10,3.6225,{"v":3.68,"d":"3.6800"},{"v":-0.05750000000000011,"d":"-0.0575"}]
[null,2,35,3.3587,{"v":3.39,"d":"3.3900"},{"v":-0.03130000000000033,"d":"-0.0313"}]
[null,1,80,2.8155,{"v":3.17,"d":"3.1700"},{"v":-0.3544999999999998,"d":"-0.3545"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 029",4,2.5,3.6277,{"v":3.76,"d":"3.7600"},{"v":-0.13229999999999986,"d":"-0.1323"}]
[null,3,15,3.5132,{"v":3.71,"d":"3.7100"},{"v":-0.19680000000000009,"d":"-0.1968"}]
[null,2,30,2.9277,{"v":3.51,"d":"3.5100"},{"v":-0.5822999999999996,"d":"-0.5823"}]
[null,1,47,{"v":2.5357000000000003,"d":"2.5357"},{"v":3.39,"d":"3.3900"},{"v":-0.8542999999999998,"d":"-0.8543"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 030",4,2,3.6684,{"v":3.81,"d":"3.8100"},{"v":-0.14159999999999995,"d":"-0.1416"}]
[null,3,7,3.6664,{"v":3.83,"d":"3.8300"},{"v":-0.1636000000000002,"d":"-0.1636"}]
[null,2,14,{"v":2.6546000000000003,"d":"2.6546"},{"v":3.51,"d":"3.5100"},{"v":-0.8553999999999995,"d":"-0.8554"}]
[null,1,20,2.5682,{"v":3.39,"d":"3.3900"},{"v":-0.8218000000000001,"d":"-0.8218"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 031",4,1,3.6779,{"v":3.66,"d":"3.6600"},{"v":0.017900000000000027,"d":"0.0179"}]
[null,3,10,3.0962,{"v":3.44,"d":"3.4400"},{"v":-0.3437999999999999,"d":"-0.3438"}]
[null,2,25,2.5958,{"v":3.39,"d":"3.3900"},-0.7942]
[null,1,40,2.5919,{"v":3.31,"d":"3.3100"},{"v":-0.7181000000000002,"d":"-0.7181"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 032",4,1,{"v":3.577,"d":"3.5770"},{"v":3.61,"d":"3.6100"},{"v":-0.03299999999999992,"d":"-0.0330"}]
[null,3,10,3.5917,{"v":3.41,"d":"3.4100"},{"v":0.18169999999999975,"d":"0.1817"}]
[null,2,40,3.1095,{"v":3.26,"d":"3.2600"},{"v":-0.15049999999999963,"d":"-0.1505"}]
[null,1,75,{"v":2.8524000000000003,"d":"2.8524"},{"v":3.14,"d":"3.1400"},{"v":-0.28759999999999986,"d":"-0.2876"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 033",6,1,3.5588,{"v":3.64,"d":"3.6400"},{"v":-0.08119999999999994,"d":"-0.0812"}]
[null,5,10,3.5753,{"v":3.61,"d":"3.6100"},{"v":-0.03469999999999995,"d":"-0.0347"}]
[null,4,20,3.5829,{"v":3.49,"d":"3.4900"},{"v":0.09289999999999976,"d":"0.0929"}]
[null,3,40,3.5202,{"v":3.41,"d":"3.4100"},{"v":0.11019999999999985,"d":"0.1102"}]
[null,2,80,3.0208,{"v":3.12,"d":"3.1200"},{"v":-0.09920000000000018,"d":"-0.0992"}]
[null,1,110,2.9522,{"v":2.99,"d":"2.9900"},{"v":-0.03780000000000028,"d":"-0.0378"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 034",6,1,{"v":3.5437000000000003,"d":"3.5437"},{"v":3.54,"d":"3.5400"},{"v":0.0037000000000002586,"d":"0.0037"}]
[null,5,10,{"v":3.56,"d":"3.5600"},3.5505,{"v":0.009500000000000064,"d":"0.0095"}]
[null,4,30,{"v":3.51,"d":"3.5100"},3.5911,{"v":-0.08110000000000017,"d":"-0.0811"}]
[null,3,50,{"v":3.39,"d":"3.3900"},3.3893,{"v":0.000700000000000145,"d":"0.0007"}]
[null,2,125,{"v":2.97,"d":"2.9700"},2.9232,{"v":0.046800000000000175,"d":"0.0468"}]
[null,1,200,{"v":2.94,"d":"2.9400"},2.8116,{"v":0.12840000000000007,"d":"0.1284"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 035",8,2,{"v":3.5319000000000003,"d":"3.5319"},{"v":3.59,"d":"3.5900"},{"v":-0.058099999999999596,"d":"-0.0581"}]
[null,7,100,3.2044,{"v":3.51,"d":"3.5100"},{"v":-0.30559999999999965,"d":"-0.3056"}]
[null,6,150,3.1305,{"v":3.39,"d":"3.3900"},{"v":-0.25950000000000006,"d":"-0.2595"}]
[null,5,350,2.7401,{"v":3.21,"d":"3.2100"},-0.4699]
[null,4,752,{"v":2.508,"d":"2.5080"},{"v":3.09,"d":"3.0900"},{"v":-0.5819999999999999,"d":"-0.5820"}]
[null,3,899,2.3922,{"v":3.02,"d":"3.0200"},{"v":-0.6278000000000001,"d":"-0.6278"}]
[null,2,1090,2.2248,{"v":2.99,"d":"2.9900"},{"v":-0.7652000000000001,"d":"-0.7652"}]
[null,1,1200,2.1756,{"v":2.99,"d":"2.9900"},-0.8144]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 036",8,1,{"v":3.5559000000000003,"d":"3.5559"},{"v":3.71,"d":"3.7100"},{"v":-0.15409999999999968,"d":"-0.1541"}]
[null,7,20,3.5762,{"v":3.73,"d":"3.7300"},{"v":-0.15379999999999994,"d":"-0.1538"}]
[null,6,50,3.5602,{"v":3.66,"d":"3.6600"},{"v":-0.09980000000000011,"d":"-0.0998"}]
[null,5,350,2.9977,{"v":3.39,"d":"3.3900"},{"v":-0.3923000000000001,"d":"-0.3923"}]
[null,4,750,{"v":2.569,"d":"2.5690"},{"v":3.24,"d":"3.2400"},{"v":-0.6710000000000003,"d":"-0.6710"}]
[null,3,1000,2.3565,{"v":3.07,"d":"3.0700"},{"v":-0.7134999999999998,"d":"-0.7135"}]
[null,2,1450,2.1388,{"v":2.97,"d":"2.9700"},{"v":-0.8312000000000004,"d":"-0.8312"}]
[null,1,1875,2.3046,{"v":2.99,"d":"2.9900"},-0.6854]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 037",8,1,3.5815,{"v":3.81,"d":"3.8100"},{"v":-0.22849999999999993,"d":"-0.2285"}]
[null,7,10,3.5758,{"v":3.66,"d":"3.6600"},{"v":-0.08420000000000005,"d":"-0.0842"}]
[null,6,37,3.6461,{"v":3.88,"d":"3.8800"},{"v":-0.23389999999999977,"d":"-0.2339"}]
[null,5,300,3.0179,{"v":3.51,"d":"3.5100"},{"v":-0.49209999999999976,"d":"-0.4921"}]
[null,4,780,2.6494,{"v":3.04,"d":"3.0400"},{"v":-0.39060000000000006,"d":"-0.3906"}]
[null,3,1020,2.3992,{"v":3.12,"d":"3.1200"},{"v":-0.7208000000000001,"d":"-0.7208"}]
[null,2,1570,2.1698,{"v":2.92,"d":"2.9200"},-0.7502]
[null,1,2200,2.3676,{"v":2.89,"d":"2.8900"},{"v":-0.5224000000000002,"d":"-0.5224"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 038",8,1,3.5721,{"v":3.71,"d":"3.7100"},{"v":-0.13790000000000013,"d":"-0.1379"}]
[null,7,25,3.5892,{"v":3.71,"d":"3.7100"},{"v":-0.12080000000000002,"d":"-0.1208"}]
[null,6,150,3.1743,{"v":3.26,"d":"3.2600"},{"v":-0.08569999999999967,"d":"-0.0857"}]
[null,5,350,{"v":2.9576000000000002,"d":"2.9576"},{"v":3.09,"d":"3.0900"},{"v":-0.13239999999999963,"d":"-0.1324"}]
[null,4,800,{"v":2.5761000000000003,"d":"2.5761"},{"v":3.02,"d":"3.0200"},{"v":-0.44389999999999974,"d":"-0.4439"}]
[null,3,1000,2.4001,{"v":2.99,"d":"2.9900"},{"v":-0.5899000000000001,"d":"-0.5899"}]
[null,2,1500,2.1141,{"v":2.89,"d":"2.8900"},-0.7759]
[null,1,2800,2.2234,{"v":2.94,"d":"2.9400"},{"v":-0.7166000000000001,"d":"-0.7166"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 039",8,2,{"v":3.59,"d":"3.5900"},{"v":3.76,"d":"3.7600"},{"v":-0.16999999999999993,"d":"-0.1700"}]
[null,7,30,{"v":3.6005000000000003,"d":"3.6005"},{"v":3.76,"d":"3.7600"},{"v":-0.15949999999999953,"d":"-0.1595"}]
[null,6,150,{"v":3.042,"d":"3.0420"},{"v":3.54,"d":"3.5400"},{"v":-0.4980000000000002,"d":"-0.4980"}]
[null,5,650,2.5659,{"v":3.09,"d":"3.0900"},{"v":-0.5240999999999998,"d":"-0.5241"}]
[null,4,800,2.5793,{"v":3.12,"d":"3.1200"},{"v":-0.5407000000000002,"d":"-0.5407"}]
[null,3,1350,2.1211,{"v":2.89,"d":"2.8900"},{"v":-0.7688999999999999,"d":"-0.7689"}]
[null,2,2000,2.3498,{"v":2.89,"d":"2.8900"},-0.5402]
[null,1,3000,2.1714,{"v":2.82,"d":"2.8200"},{"v":-0.6485999999999996,"d":"-0.6486"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 040",8,2,3.6065,{"v":3.76,"d":"3.7600"},{"v":-0.15349999999999975,"d":"-0.1535"}]
[null,7,42,3.6631,{"v":3.78,"d":"3.7800"},{"v":-0.11689999999999978,"d":"-0.1169"}]
[null,6,49,{"v":3.6188000000000002,"d":"3.6188"},{"v":3.78,"d":"3.7800"},{"v":-0.16119999999999957,"d":"-0.1612"}]
[null,5,244,3.0247,{"v":3.09,"d":"3.0900"},{"v":-0.06529999999999969,"d":"-0.0653"}]
[null,4,745,2.6103,{"v":2.97,"d":"2.9700"},{"v":-0.35970000000000013,"d":"-0.3597"}]
[null,3,844,2.5243,{"v":2.89,"d":"2.8900"},{"v":-0.3656999999999999,"d":"-0.3657"}]
[null,2,1498,2.1327,{"v":2.77,"d":"2.7700"},{"v":-0.6373000000000002,"d":"-0.6373"}]
[null,1,2403,{"v":2.342,"d":"2.3420"},{"v":2.84,"d":"2.8400"},{"v":-0.4979999999999998,"d":"-0.4980"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 041",8,1,3.5686,{"v":3.78,"d":"3.7800"},{"v":-0.2113999999999998,"d":"-0.2114"}]
[null,7,10,3.5802,{"v":3.76,"d":"3.7600"},{"v":-0.17979999999999974,"d":"-0.1798"}]
[null,6,40,"NÃO FECHOU"]
[null,5,200,3.0827,{"v":3.46,"d":"3.4600"},{"v":-0.37729999999999997,"d":"-0.3773"}]
[null,4,800,2.5591,{"v":3.24,"d":"3.2400"},{"v":-0.6809000000000003,"d":"-0.6809"}]
[null,3,1200,2.1731,{"v":3.09,"d":"3.0900"},-0.9169]
[null,2,1500,{"v":2.1611000000000002,"d":"2.1611"},{"v":3.07,"d":"3.0700"},{"v":-0.9088999999999996,"d":"-0.9089"}]
[null,1,2000,2.3554,{"v":2.92,"d":"2.9200"},-0.5646]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 042",6,1,3.5731,{"v":3.71,"d":"3.7100"},{"v":-0.1368999999999998,"d":"-0.1369"}]
[null,5,20,3.5768,{"v":3.73,"d":"3.7300"},-0.1532]
[null,4,40,3.6119,{"v":3.59,"d":"3.5900"},{"v":0.02190000000000003,"d":"0.0219"}]
[null,3,150,3.2208,{"v":3.31,"d":"3.3100"},{"v":-0.08919999999999995,"d":"-0.0892"}]
[null,2,300,2.9022,{"v":3.02,"d":"3.0200"},{"v":-0.1177999999999999,"d":"-0.1178"}]
[null,1,450,{"v":2.7758000000000003,"d":"2.7758"},{"v":2.92,"d":"2.9200"},{"v":-0.14419999999999966,"d":"-0.1442"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 043",6,2,3.5359,{"v":3.66,"d":"3.6600"},{"v":-0.12410000000000032,"d":"-0.1241"}]
[null,5,20,3.5951,{"v":3.68,"d":"3.6800"},{"v":-0.0849000000000002,"d":"-0.0849"}]
[null,4,45,{"v":3.38,"d":"3.3800"},{"v":3.44,"d":"3.4400"},{"v":-0.06000000000000005,"d":"-0.0600"}]
[null,3,100,2.9879,{"v":3.12,"d":"3.1200"},{"v":-0.13210000000000033,"d":"-0.1321"}]
[null,2,148,3.0001,{"v":3.17,"d":"3.1700"},{"v":-0.16989999999999972,"d":"-0.1699"}]
[null,1,190,2.9155,{"v":3.02,"d":"3.0200"},{"v":-0.10449999999999982,"d":"-0.1045"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 044",6,2,3.5821,{"v":3.76,"d":"3.7600"},{"v":-0.17789999999999973,"d":"-0.1779"}]
[null,5,9,3.5772,{"v":3.73,"d":"3.7300"},{"v":-0.15280000000000005,"d":"-0.1528"}]
[null,4,20,3.6775,{"v":3.86,"d":"3.8600"},{"v":-0.18249999999999966,"d":"-0.1825"}]
[null,3,30,3.6395,{"v":3.83,"d":"3.8300"},{"v":-0.1905000000000001,"d":"-0.1905"}]
[null,2,100,2.9245,{"v":3.04,"d":"3.0400"},{"v":-0.11549999999999994,"d":"-0.1155"}]
[null,1,120,2.8786,{"v":2.99,"d":"2.9900"},{"v":-0.11140000000000017,"d":"-0.1114"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 045",4,1,3.5739,{"v":3.39,"d":"3.3900"},{"v":0.18389999999999995,"d":"0.1839"}]
[null,3,14,{"v":3.5681000000000003,"d":"3.5681"},{"v":3.54,"d":"3.5400"},{"v":0.028100000000000236,"d":"0.0281"}]
[null,2,30,3.5031,{"v":3.49,"d":"3.4900"},{"v":0.013099999999999667,"d":"0.0131"}]
[null,1,100,2.8795,{"v":3.73,"d":"3.7300"},{"v":-0.8504999999999998,"d":"-0.8505"}]
["ESTAÇÃO","GARRAFA","PROFUNDIDADE","OD","OD","DIFERENÇA"]
[null,"Nº","COLETA (m)","CTD","BANCADA","CTD - POR"]
["OCS-4 046",4,2,3.5816,{"v":3.76,"d":"3.7600"},{"v":-0.1783999999999999,"d":"-0.1784"}]
[null,3,20,{"v":3.563,"d":"3.5630"},{"v":3.73,"d":"3.7300"},{"v":-0.16699999999999982,"d":"-0.1670"}]
[null,2,40,2.8393,{"v":3.04,"d":"3.0400"},{"v":-0.20069999999999988,"d":"-0.2007"}]
[null,1,50,{"v":2.716,"d":"2.7160"},{"v":2.94,"d":"2.9400"},{"v":-0.22399999999999975,"d":"-0.2240"}]